## Slide 1: HYDROGEN PEROXIDE STERILISATION IN A ISO EN 13485 ENVIRONMENT
Wouter Meert, manager CSSD, UZ Leuven

## Slide 2: UZ Leuven

## Slide 3: UZ Leuven Healthcare campus

## Slide 5: UZ Leuven
1900 beds
9 038 employees
56 658 hospitalizations
684 199 consults (2 748/day)
100 005 one day hospitalizations
53 544 surgical procedures (215/day – 45 operating rooms)

## Slide 6
CSSD UZ Leuven

## Slide 7: CSSD UZ Leuven
ISO EN 13485 (since 2012, successfull recertification 2015)
54,90 FTE
1900 m2
3 batch and 3 tunnel WD
5 floor load autoclaves
2 Sterrad 100 NX

## Slide 8: ISO EN 13485
Organisational structure
Infrastructure
Structure QMS
Process controle
Customer feedback
Staf training

## Slide 9: ISO EN 13485

## Slide 10: Hydrogen peroxide sterilizers

## Slide 11: Hydrogen peroxide UZ Leuven
First Sterrad 100 S bought in 1998
Second in 2000
Half december 2013, 2 new Sterrad 100 NX
Spring 2015, installation double door
Current use 10 – 15 cycle/day/machine
221 different items

## Slide 12: Infrastructure
Before double door installation

## Slide 13: Building plans

## Slide 14: Current setting

## Slide 15: Medical instruments
Optics
HD camera’s
Light cables
endoscopes
Da Vinci instruments
Foetal surgery
Brachytherapie
Echoprobes
Hipec
Sentinel probe
Diamant drills
Electrodes/kirschner
80 %

## Slide 16: Temperature probe Hipec

## Slide 17: Echo probe

## Slide 18: Utrecht applicator brachy

## Slide 19: Da Vinci XI

## Slide 20: Foetal surgery

## Slide 21: Process switch
1 proces
Standaard
Duo
Flex
Express

## Slide 22: Defining process compatibility
Registration conform ISO EN 13485
Listing instruments
Sterilisation Program selection:
  ASP Sterrad Sterility guide
  User manual instrument manufacturer
  Sterility experts ASP
Registration within traceability system and inventory
Training employees

## Slide 26: NBN EN ISO 14937
IQ, OQ, PQ
Routine controle:
  Chemical indicators/ biological indicators
Periodically maintenance
Parametric release

## Slide 27: Parametric release

## Slide 28: Conclusion
Need for hydrogen peroxide LTS within our setting because of specific surgical instruments
Important for ISO EN 13485 :
  Sterrad Sterility Guide
  Support by sterility advisors
  Process control en parametric release
More research is needed on effects of hydrogen peroxide on instruments

## Slide 29: Thank you
Wouter Meert
Manager CSSD
UZ Leuven
wouter.meert@uzleuven.be
Tel 0032 16 34 40 07